## Models
model number | Current | serial number series
Burdick legacy - not built by Mortara
Atria 3000 | EOL | 92700-xxxx or A3000-xxxx
Atria 3100 | EOL | A3100-xxxx
Atria 6100 | EOL | A6100-xxxx
Eclipse 850 | EOL | 1067xxxxx
Eclipse Plus | EOL | E10-xxxx
Eclipse Premier | EOL | E10-xxxx
Eclipse LE II | EOL | 92304-xxxx
Eclipse EK10 | EOL | 1096xxx
Elite II | EOL | 29xxx
Eclipse E8300 | EOL | E8300-xxxxxx
Eclipse E8500 | EOL | E8500-xxxxxx
Mortara built - Welch Allyn cardiology product |  |  | SN starts with year
BUR230 | CURRENT | 12 DIGIT SN | 119 = 2019
ELI230 | CURRENT | 12 DIGIT SN | 108=2008
MLBUR150C | CURRENT | 12 DIGIT SN
ELI150C | CURRENT | 12 DIGIT SN
BUR250C | CURRENT | 12 DIGIT SN
MLBUR250C | CURRENT | 12 DIGIT SN
ELI250C | CURRENT | 12 DIGIT SN
BUR280 | CURRENT | 12 DIGIT SN
MLBUR280 | CURRENT | 12 DIGIT SN
ELI280 | CURRENT | 12 DIGIT SN
ELI380 | CURRENT | 12 DIGIT SN
ELI10 | EOS | 12 DIGIT SN
ELI350 | EOS | 12 DIGIT SN
ELI150 | EOL | 12 DIGIT SN
ELI250 | EOL | 12 DIGIT SN
ELI100 | EOL | 12 DIGIT SN
ELI200 | EOL | 12 DIGIT SN
ELI50 | EOL | 12 DIGIT SN

## Atria 3000
Atria A3000 - Warranty was 3 years parts and labor
OBSOLETE AUGUST 1, 2013
Patient cable / clips available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
Part Number | Part Description
146-0126-00 | Battery
146-0022-00 | Battery, Coin Cell
200-0385-00 | Battery, Cover Assembly
119-0485-00 | Brick, External Power Supply
175-1566-00 | Cable, Digital PCB to Keyboard PCB
175-1570-00 | Cable, Digital PCB to LCD Display
175-1571-00 | Cable, Digital PCB to Power Supply PCB
175-1572-00 | Cable, Ground Wire, 18 GA, 6.5" terminated
175-1573-00 | Cable, Ground Wire, y/g, 18 GA, 13" terminated
175-1603-00 | Cable, Ground Wire, y/g, 18 GA, 16" with ferrite
010-1567-00 | DISPLAY, CHAR LCD,40X2, 92700
650-1417-00 | Enclosure, Bottom
650-1421-00 | Enclosure, Top (with keypad and display)
671-1002-03U | Front End Digital PCB(sn required when ordering)
650-1441-00 | I/O Assembly
650-1418-00 | I/O Cover
650-1390-00 | Keyboard Assembly
388-0959-00 | Keyboard, gold Switch, 10"x4"
260-0345-00 | Keypad, Rubber
671-1002-03U | Logic PCB (sn required when ordering -24 hour notice)
671-1002-05U | Logic PCB, Alternate Languages(sn required when ordering-24 hour notice)
650-1417-00 | Lower Enclosure, Complete, Service assembly
174-1677-00 | Memory Module, Programmed Compact Flash (sn required when ordering-24 hour notice)
842938 | Module Retaining Clip
084-0801-00 | Operator's Manual (Compact Disc, includes Physicians Guide)
070-1138-00 | Operator's Manual (Paper Copy)
200-0384-00 | Paper Cover, Internal
650-1414-00 | Paper Door Assembly
650-1416-00 | Paper Drive Assembly
047262 | Power Cord
650-1419-00 | Power Supply Cover
200-0388-00 | Power Supply Cover, Notched
671-1268-00 | Power Supply PCB
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007983 | Paper, Standard
716-0237-00 | Paper, Assurance

## Atria 3100
Atria A3100 - Warranty is 3 years parts and labor
OBSOLETE - AUGUST 1, 2018
Patient cable / clips available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
Part Number | Part Description
60-00049-01 | A4 Paper guide
146-0131-00 | Battery, 14.4V NIMH, 1500MAH (use battery for A6100)
146-0052-00 | Battery, Coin, 3.0v, CR2032
010-1684-00 | Brick, External Power Supply
651-1503-00 | Cover, Top, (With Display and Keyboard)
260-0350-01 | Atria 3100 Keypad
388-0959-00 | PCB, KEYBOARD, 92700 (Please use top cover assembly)
SERV 671-1299-01U | Logic PCB, Main (sn required, 24 hour notice) (New style only)
671-1299-00U | Logic PCB, Main (sn required, 24 hour notice) (Old style only for use with old style printer assembly)
671-0001-00 | Modem PCB factory only repair (modems we have are for repair of existing modem units no modem upgrades will be sold)
651-1403-00 | Paper Door (Old Style)
60-00018-01 | Paper Door slide Left
60-00019-01 | Paper Door Slide Right
10-00041-02S | Paper Door, New Style, English Only (USE THIS FOR ALL DOMESTIC ORDERS)
10-00041-02R | Paper Door, New Style, English Only, Refurb (Note: these are refurbished doors provided by Factory Service)
10-00041-01S | Paper Door, New style, Multi language (USE THIS FOR INTERNATIONAL ORDERS ONLY)
10-00040-01S | Paper Tray Assembly (New Style)
047262 | Power Cord (120V)
007082 | Power Cord (230V)
671-1300-01 | Power Supply PCB, new style (old style needs to come in for factory repair)
30-0005-01S | Que Sensor (New Paper Drive)
146-0127-00 | Battery, 14.4V NIMH, 1500MAH
716-0237-00 | Paper, Assurance (Fade Free)
IF S/N IS A3100-002800 OR ABOVE- MANUFACTURED WITH THE NEW PAPERDRIVE
IF S/N IS A3100-002799 OR BELOW - MANUFACTURED WITH THE OLD PAPERDRIVE
013-0150-00 | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007983 | Paper, Standard
These next 3 parts are for SN A3100-002800 or higher
50-00029-01 | spring
60-00016-01 | Shoe
60-00017-01 | clamp

## Atria 6100
Atria A6100 - Warranty is 3 years Parts and labor
OBSOLETE - AUGUST 1, 2018
Patient cable / clips available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
Part Number | Part Description
60-00049-01 | A4 Paper guide
146-0052-00 | Battery, Coin, 3.0v, CR2032
010-1684-00 | Brick, External Power Supply
651-1429-00 | Cover, Top, (With Display and Keyboard)
651-0002-00 | Cover, Top, (Without Display)
260-0347-01 | Atria 6100 Keypad
388-0969-00 | PWB, KEYBOARD, ATRIA 6000 (order the top cover assembly)
671-1299-01 | Logic PCB, Main (sn required, 24 hour notice) (New style only for use with the new style printer assembly)
671-1299-00U | Logic PCB, Main (sn required, 24 hour notice) (Old style only for use with old style printer assembly)
671-0001-00 | Modem PCB factory only repair (modems we have are for repair of existing modem units no modem upgrades will be sold)
651-1403-00 | Paper Door (Old Style)
60-00018-01 | Paper Door slide Left
60-00019-01 | Paper Door Slide Right
10-00041-02S | Paper Door, New Style, English Only (USE THIS FOR ALL DOMESTIC ORDERS)
10-00041-02R | Paper Door, New Style, English Only, Refurb (Note: these are refurbished doors provided by Factory Service)
10-00041-01S | Paper Door, New style, Multi language (USE THIS FOR INTERNATIONAL ORDERS ONLY)
10-00040-01S | Paper Tray Assembly (New Style)
047262 | Power Cord (120V)
007082 | Power Cord (230V)
671-1300-01 | Power Supply PCB, (New Style)
671-1300-00U | Power Supply PCB, (Old Style) DO NOT SEND OUT needs to come in for service
30-0005-01S | Que Sensor (New Paper Drive)
671-1272-00 | Que Sensor (Old Paper Drive)
671-1301-00 | Video Adapter PCB
146-0127-00 | Battery, 14.4V NIMH, 1500MAH
716-0237-00 | Paper, Assurance (Fade Free)
IF S/N IS A6100-002100 OR ABOVE- MANUFACTURED WITH THE NEW PAPERDRIVE
IF S/N IS A6100-002099 OR BELOW - MANUFACTURED WITH THE OLD PAPERDRIVE
013-0150-00 | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007983 | Paper, Standard
These next 3 parts are for SN A6100-002100 or higher
50-00029-01 | spring
60-00016-01 | Shoe
60-00017-01 | clamp

## Eclipse 850
Eclipse 850 PhaseII - Warranty was 3 years (parts and labor)
OBSOLETE - AUGUST 1, 2013
Patient cable / clips available
All other part numbers for reference only
012-0844-01 |  | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 |  | Clips, Clear Choice Adaptor new number 715006
Part Number |  | Part Description
862984 |  | Battery Compartment Cover
863715 |  | Battery Foam Filler
863696 |  | Battery Pack, 16.8V 0.7A HR
146-0022-00 |  | Battery, Lithium 3V Coin
008014 |  | Cable, E850 To Monitor-Wall Mount
008012 |  | Cable, Eclipse To Monitor
863814 |  | Cable, LCD Adapter
863815 |  | Cable, Power Supply
863816 |  | Cable, Printhead
896969 |  | Cable, Queue Sensor
863788S |  | Display Adapter Bd
863698 |  | Display Panel
811978 |  | Display, LCD 320X240
040-1422-00 |  | Eclipse 850 Static Brush Kit
863791 |  | EMI Plate
863866 |  | Enclosure, Bottom with communication w/labels
863867 |  | Enclosure, Bottom without communication w/labels
863740 |  | Enclosure, Top w / Labels (NLA use pn 863742)
862980S |  | Fax/Modem Bd (NO LONGER AVAILABLE)
833117 |  | Fuse, 1A 250V Type T 5X20mm (2) Required
862949 |  | Hinge Pin (2) Required
863804S | # | Input/Output PCBD
845946 |  | Insulator
862907 |  | Keyboard, Membrane Switch
863684 |  | Keyboard/Display Support
862908 |  | Keypad, Elastomer Overlay
334-5027-00 |  | Label, Quick Steps
863787S |  | Logic Bd., Front End Digital, use pn 671-1002-01U
671-1002-01U |  | Logic PCBD Above S/N 10670003068 And 10680000473(sn required when ordering) | use for all 1067sn's per Dave H
863022 |  | Operator Manual Kit, English
070-0506-00 |  | Operator Manual Kit, English (GRI Ver. 16.7)
863727 |  | Paper Drive Assembly w / Print Head
862962 |  | Paper Drive Gear (NO LONGER AVAILABLE)
863720 |  | Platen Carrier Assembly (Add Label pn 334-5027-00)
863789S |  | Power Supply Bd
863193 |  | Queue Sensor
086612 |  | Service Manual
862955 |  | Shockmount, Paperdrive
040-1422-00 |  | Static Brush Kit
834607 |  | Transformer, Power 115V
008003 |  | Video Eclipse, How To
007725 |  | Pat Cbl, 10 Ld Dom. (Stress) w/Replaceable Lds w/Grabber
013-0150-00 |  | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 |  | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 |  | Patient Cable, Resting, DOM, Replaceable Leads
007988 |  | Paper, Standard
716-0239-00 |  | Paper, Assurance

## Eclipse Plus
Part Number | Part Description | Exchange Part
Eclipse Plus Serial Numbers Begining With
OBSOLETE - AUGUST 1, 2013
Patient cable / clips / paper available
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
SN 1044, 1045,1090, 1091 & < 923001-000099 (Con't)
Eclipse Plus Phase II
SN 92301-000100 - 92301-000619
Manufactured from 2005 to June 2008
EOL

## Eclipse Premier
Eclipse Premier - Warranty is 1 year labor 3 years parts
OBSOLETE - OCTOBER 1, 2013
Patient cable / clips still available
All other part numbers for reference only
012-0844-01 |  | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 |  | Clips, Clear Choice Adaptor new number 715006
Part Number |  | Part Description
040-1517-01 |  | ****Wired ethernet and wireless 802.11 HP kit for Eclipse Premier (HP ProCurve)*** use this new bridge
650-1443-01 |  | B8I Module Assembly (Note: Only one module required per cart for Barcode and/or 802.11b)
019-0498-00 |  | Backlight Module
650-1457-00 |  | Bar Code Cable Assembly
040-1483-01 |  | Barcode Scanner Upgrade Kit, (Note: Requires 650-1443-00 B8I module)
146-0022-00 |  | Battery , Lithium, 3V, 0.5AH, 24.5 x 5MM
146-0100-00 |  | Battery Pack, NiCad, 5.0 AH, 16.8V
60-00004-01 |  | CABLE ASSY, DB9 AND POWER,1 FT (FITS THE COLUBRIS and HP Procurve)
175-1614-00 |  | CABLE ASSY, ETHERNET, DB9 AND POWER,1 FT (FITS THE 3COM)
650-1457-00 |  | Cable, Bar Code Assembly
863855 |  | Cable, Front End Board to Power Supply Board
007059 |  | Cable, Interconnect, Cart to Cart
175-1402-00 |  | Cable, LVDS Display
175-0404-00 |  | Cable, Printer
882029 |  | Cable, Pyramis direct connect cable
012-0710-00 |  | Cable, Pyramis ECG Pigtail (Connects to Pyramis Direct Connect Cable pn 882029)
650-1444-00 |  | Cart handle assembly Blue foam
702205 |  | Cart, Bolt, Wheel Retainer
842928 |  | Cart, T-Nut
847939 |  | Cart, Wheel, Locking
847938 |  | Cart, Wheel, Non Locking
825084 |  | Connector, AC Recepticle, PCB mount
437-5049-00 |  | Console
437-5056-00 | * | Display Enclosure
701955 | * | Display LVD Screw, (holds Backlight Inverter in place)
050-0429-00 | #* | Display, Bracket, Inverter
651-1452-00u | # | Display, Complete (White) USE THIS PART NUMBER
50-00215-01 | colubrus only | DUALBAND(2.4-5GHZ)SHORT INDOOR ANT,2PKG
670-1013-00 |  | Fax / Modem PCB (USE 10-00605-01)
833088 |  | Fuse, 0.5A, 250V, 5 x 20mm (230V units)
833117 |  | Fuse, 1A, 250V, Type T, 5 x 20mm (120V units)
040-1481-00 |  | Hanger, Patient cable
407-0748-00 |  | Hanger, SUPPORT, ROD FOR PATIENT CABLE HANGER(WHITE PLASTIC BARRELL)
862949 |  | Hinge Pin Assembly (2 required)
119-0492-00 |  | Keyboard Assembly
334-5580-00 | * | Label, Quick Steps
671-1002-04U | # | Logic PCB (Storage Module part of Board)(sn required when ordering)
070-1148-00 |  | Operator Manual Kit, English
863594 | # | Paper Drive Assembly
862963 | * | Paper Drive Belt
862962 | * | Paper Drive Gear
040-1402-00 | * | Paper Drive Static Brush Kit
650-1455-01 |  | Paper Platen Carrier Assembly (add label pn 334-5580-00, quick steps)
007079 |  | Phone Cord, White (9 Ft. Stretched Minimum)
047262 |  | Power Cord
882166 |  | Power Cord Strain relief CORD WRAP,BLACK (2 PER PACK)
671-1001-01U | # | Power Supply PCB / 407-0750-00 train relief
863193 |  | Queue Hole Sensor Assembly
070-1150-00 |  | Service Manual
120-0255-00 |  | Transformer, 120V
120-0256-00 |  | Transformer, 220V
007710 |  | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 |  | Patient Cable, Resting, DOM, Replaceable Leads (Default cable)
007983 |  | Paper, Standard
716-0237-00 |  | Paper, Assurance (Fade Free)

## Ecliple LE II
Eclipse LE II - warranty was 3 years parts and labor
Manufactured from 1997 to 2004
OBSOLETE AUGUST 1, 2013
Patient cable / clips available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
Part Number | Part Description
862988 | Battery Pack, NI-CAD, 16.8V, 0.7 AH
146-0022-00 | Battery, Lithium 3V.5AH,24.5X5MM (2450)
008014 | Cable, E850 To Monitor-Wall Mount
008012 | Cable, Eclipse To Monitor
012-0710-00 | Cable, Pigtail (Attaches to pyramis via direct connect)
863842 | Display Lens, Eclipse LE II
8110075 | Display, 2X40 Character Liquid Crystal
863825 | EMI Plate
863810S | Enclosure, Bottom ECLLE II w/Labels
863811S | Enclosure, Top ECLLE II S/N is required when ordering this part
833117 | Fuse, 1A 250V Type T 5X20mm
862923 | Hinge Pin Assembly
863845S | Input/Output Bd
845947 | Insulator
863746 | Keyboard, Membrane Switch w/Overlay
863854 | LCD To Front End Cable 7X2"
863787LE | Logic Bd (S/N 10690007393 and Below, use pn 671-1002-00)
671-1002-00U | Logic Bd (S/N 1069XXX7394 and Above and S/N 1070 and Above)(sn required when ordering)
086646 | Operators Manual, English
862776 | Paper Compartment Cover
862775 | Paper Compartment Lid
862640 | Paper Drive Gear, 20T (Motor)
862372 | Paper Drive Gear, 60T (Roller)
863863S | Paper Drive w/Printhead
862951 | PAPERDRIVE MOUNTS LEII
047262 | Power Cord
007082 | Power Cord, European
863786S | Power Supply Bd
863855 | Power Supply To Front End Cable 6.125"
863853 | Power Supply to Printhead Cable 8.75"
863865 | Queue Sensor
086651 | Service Manual, English
834612 | Transformer, Power 115V
008051 | Video Eclipse, How To
007725 | Pat Cbl, 10 Ld Dom. (Stress) w/Replaceable Lds w/Grabber
013-0150-00 | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007868 | Paper, Standard
716-0234-00 | Paper, Assurance

## EK10
EK-10 - warranty was 3 years parts and labor
OBSOLETE AUGUST 1, 2013
All part numbers for reference only
Part Number |  | Part Description
862278 |  | Battery
862513 |  | Battery Cover (White)
845815 |  | Bumper, Rubber (Small)
007039 |  | Carrying Case
862623 |  | Enclosure, Bottom (White w / Labels)
862548 |  | Enclosure, Bottom IEC (White). INTERNATIONAL
862626 |  | Enclosure, Top (White w / Membrane Switch)
862499 |  | Foot, Rubber ("L" Shaped).
862268 |  | Fuse Cover (Bone).
862514 |  | Fuse Cover (White)
862549 |  | Fuse Cover IEC
833098 |  | Fuse, .16A
833007 |  | Fuse, .3A 250V (F1 and F2).
833014 |  | Fuse, 2A (F3).
833121 |  | Fuse, 5 mm x 20 mm, 2A Slow - Blow 250V.
833081 |  | Fuse, 5 mm x 20 mm, 315mA 250V
862302 |  | LCD .
862442 | # | Logic Bd., Ver. 2 (S/N 32000 - 52426)
863187 | # | Logic Bd., Ver. 2A (S/N 52427 and Above)
863189 | # | Logic Bd., Ver. 2A 115V (Spanish)
020-0123-00 | # | Logic Bd., Ver. 2A 220V (Spanish)
863236 | # | Logic Bd., Ver. 2A IEC 220V
863194 | # | Logic Bd., Ver. 2A IEC 230V
863841 | # | Logic Bd., Ver. 2A IEC 230V 50HZ (Spacelabs) Logo
862493 |  | Membrane Switch Overlay
086637 |  | Operator Instructions, MDD English
086063 |  | Operator Manual, EK10 Ver. 2 (S/N 32000 & Above).
862332 | # | Paper Drive Assembly w / Print Head
862276 |  | Paper Spool
012-0700-00 |  | Patient Cable, 10 Lead (Resting) Non-Replaceable Leads.
007705 |  | Patient Cable, 10 Lead Resting w / Replaceable Leads
007038 |  | Patient Cable, 5 Lead.
013-0150-00 |  | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 |  | Patient Cable, Replacement Leads, 3 Dom Resting w / 10 Identifiers
862512 |  | Platen Carrier / Paper Cover (White).
862314 |  | Platen Pressure Roller.
862269 |  | Platen Roller.
047262 |  | Power Cord
005107 |  | Service Contract, Mail In
005057 |  | Service Contract, Parts Only
086643 |  | Service Manual, EK10 MDD English
086027 |  | Service Manual, EK10 Versions 1 & 2
827968 |  | Switch, Power .
862282 |  | Thrust Bearing
007557 |  | Video, "How To Operate An EK10"
007558 |  | Video, "How To Take A Good ECG".
862282 |  | thrust bearings
862269 |  | Platen Roller.
862512 |  | Platen Carrier / Paper Cover (White).
007264 |  | Alligator (Veterinary) Adapter Clip. (10 clips/pack)(each=1clip) Price per each.
9325-003-50 |  | Clips, Clear choice adaptor
012-0700-00 |  | Patient Cable, Resting, DOM, Non-Replaceable Leads (default cable)
007958 |  | Paper, Standard
716-0233-00 |  | Paper, Assurance

## Elite II
Elite II - warranty was 3 years parts and labor
OBSOLETE AUGUST 1, 2013
All part numbers for reference only
Part Number |  | Part Description
862278 |  | Battery
862513 |  | Battery Cover (White)
850662 |  | Battery, 3V Lithium (No Leads)
845815 |  | Bumper, Rubber (Small)
007039 |  | Carrying Case
862270 |  | Drive Roller.
007697 |  | Elite II Factory Installed Fax Option
862713 |  | Enclosure, Bottom (White w / Labels).
862810 |  | Enclosure, Top (For Elite II With FAX).
862712 |  | Enclosure, Top (White w / Membrane Switch) Dom. & IEC
862499 |  | Foot, Rubber ("L" Shaped).
862514 |  | Fuse Cover (White)
833098 |  | Fuse, .16A
833007 |  | Fuse, .3A 250V (F1 and F2).
833014 |  | Fuse, 2A (F3).
862302 |  | LCD .
862665 | # | Logic Bd.
862896 | # | Logic Bd. 120V Dom. (FR.)
862994 | # | Logic Bd. 120V Dom. (FR.) w / FAX
862897 | # | Logic Bd. 120V Dom. (SPN).
862891 | # | Logic Bd. w / Comm. w / o FAX
862933 | # | Logic Bd. w / FAX Dom
862494 |  | Membrane Switch Overlay.
086136 |  | Operator Manual
862332 | # | Paper Drive Assembly w / Print Head
862276 |  | Paper Spool
012-0700-00 |  | Patient Cable, 10 Lead (Resting) Non-Replaceable Leads.
007038 |  | Patient Cable, 5 Lead.
013-0150-00 |  | Patient Cable, Replacement Leads, 10 Dom Stress, w/ grabber
007710 |  | Patient Cable, Replacement Leads, 3 Dom Resting w / 10 Identifiers
862512 |  | Platen Carrier / Paper Cover (White).
862269 |  | Platen Roller.
047262 |  | Power Cord
849139 |  | Quick Reference Guide Elite II
086175 |  | Service Manual, Elite
827968 |  | Switch, Power .
862282 |  | Thrust Bearing
007655 |  | Video, "How To Operate Elite II"
862282 |  | thrust bearings
862269 |  | Platen Roller.
862512 |  | Platen Carrier / Paper Cover (White).
007264 |  | Alligator (Veterinary) Adapter Clip. (10 clips/pack)(each=1clip) Price per each.
9325-003-50 |  | Clips, Clear choice adaptor
012-0700-00 |  | Patient Cable, Resting, DOM, Non-Replaceable Leads (default cable)
007958 |  | Paper, Standard
716-0233-00 |  | Paper, Assurance

## E8300
Burdick E8300 - Warranty is 3 years parts and labor
Manufactured 12/2010 until present
OBSOLETE - AUGUST 1, 2018
Patient cable / clips / USB wireless adapter available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
50-01317-01 | USB WIRELESS ADAPTOR (ADAPTOR ONLY)
Part Number | Part Description
60-00049-01 | A4 Paper guide
XKTEBARCD | Barcode Scanner w/ Bracket, Kit, for 8300/8500
146-0131-00 | Battery, 14.4V NIMH, 1500MAH | Use 146-0127-00
146-0052-00 | Battery, Coin, 3.0v, CR2032
010-1684-00 | Brick, External Power Supply
XKTEINTPR | Burdick 8500/8300 - GRI Interpretative statements upgrade kit
10-00469-01 | Keypad assembly
30-00030-01s | Logic PCB, Main (sn required, 24 hour notice)
10-00492-02S | Paper Door 8300/8500, English Only (USE THIS FOR ALL DOMESTIC ORDERS)
10-00492-02R | Paper Door 8300/8500, English Only, Refurb (Check stock)
10-00492-01S | Paper Door 8300/8500, multi language (USE THIS FOR ALL INTERNATIONAL ORDERS)
60-00018-01 | Paper Door slide Left
60-00019-01 | Paper Door Slide Right
10-00040-01S | Paper Tray Assembly
047262 | Power Cord (120V)
007082 | Power Cord (230V)
671-1300-01 | Power Supply PCB,
30-0005-01S | Que Sensor
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007983 | Paper, Standard
146-0127-00 | Battery, 14.4V NIMH, 1500MAH
716-0237-00 | Paper, Assurance (Fade Free)
50-00029-01 | spring
60-00016-01 | Shoe
60-00017-01 | clamp

## E8500
Burdick E8500 - Warranty is 4 years parts and labor
Manufactured 12/2010
OBSOLETE - AUGUST 1, 2018
Patient cable / clips / USB wireless adapter available
All other part numbers for reference only
012-0844-01 | Patient Cable, Resting, DOM, Non-Replaceable Leads (Default cable)
9325-003-50 | Clips, Clear Choice Adaptor new number 715006
50-01317-01 | USB WIRELESS ADAPTOR (ADAPTOR ONLY)
Part Number | Part Description
60-00049-01 | A4 paper guide
XKTEBARCD | Barcode Scanner w/ Bracket, Kit, for 8300/8500
146-0052-00 | Battery, Coin, 3.0v, CR2032
010-1684-00 | Brick, External Power Supply
XKTEINTPR | Burdick 8500/8300 - GRI Interpretative statements upgrade kit
10-00469-01 | Keypad assembly
30-00030-01s | Logic PCB, Main (sn required, 24 hour notice)
10-00492-02S | Paper Door 8300/8500, English Only (USE THIS FOR ALL DOMESTIC ORDERS)
10-00492-02R | Paper Door 8300/8500, English Only, Refurb (Check stock)
10-00492-01S | Paper Door 8300/8500, multi language (USE THIS FOR ALL INTERNATIONAL ORDERS)
60-00018-01 | Paper Door slide Left
60-00019-01 | Paper Door Slide Right
10-00040-01S | Paper Tray Assembly
047262 | Power Cord (120V)
007082 | Power Cord (230V)
671-1300-01 | Power Supply PCB,
30-00005-01S | Que Sensor
671-1301-00 | Video Adapter PCB
007710 | Patient Cable, Replacement Leads, 3 Dom. Resting w / 10 Identifiers
007704 | Patient Cable, Resting, DOM, Replaceable Leads
007983 | Paper, Standard
146-0127-00 | Battery, 14.4V NIMH, 1500MAH
716-0237-00 | Paper, Assurance (Fade Free)
50-00029-01 | spring
60-00016-01 | Shoe
60-00017-01 | clamp