## Board ALignment
Model | Description | Main PC Brd | U10 IC | Cal Plug | U8 RS232 | U7 I/O | U6 A/D | Display PC Brd | U101 for Display Board
2002 | SLINGSCALE BED SCALE | 700051W | 450002 | 255009 | N/A | EU1027 | EU1022 | 700027W
2250 | UNDER-BED POD SCALE | 11010S | N/A | 255024 | N/A | N/A | EU1022 | 11600
2250 | UNDER-BED POD SCALE | 11010S | N/A | 255004, or 255023 | N/A | N/A | EU1022 | 11600
4002 | Warmer Scale | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4152 | INFANT SCALE FOR AMERIWOOD W/WEIGHING TRAY 18.5"X27"X2" HIGH | 700116W | 450021 | 255032 | N/A | EU1027 | EU1022 | 700115
4302 | ORGAN/TISSUE SCALE | 700058 | 450016 | 255014 | N/A | EU1027 | EU1022 | 700115
4502 | DIAPER / SPECIMEN SCALE | 700058 | 450016 | 255014 | N/A | EU1027 | EU1022 | 700115
4802 | PEDIATRIC SCALE COMPUTER ENHANCED | 700056W | 450012 | 255002 | 350043 | N/A | EU1022 | 700059
5002 | MOBILE STAND-ON SCALE | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
5102 | PHYSICIAN'S STAND-ON SCALE 1/10 LB/100 GM ACCURACY | 700116 | 450006 | 255019 | 350043 | EU1027 | EU1022 | 700027W
5107 | BARIATRIC PHYSICIAN'S STAND-ON SCALE | 700116 | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
5122 | LOW PROFILE STAND-ON SCALE | 700116 | 450006 | 255019 | 350043 | EU1027 | EU1022 | 700027W
5125 | STAND-ON SCALE | 700116 | 450006 | 255119 | 350043 | EU1027 | EU1022 | 700064
5127 | PORTABLE BARIATRIC STAND-ON SCALE | 700116 | 450006 | 255119 | 350043 | EU1027 | EU1022 | 700064
5152 | IN-FLOOR STAND-ON SCALE | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
5202 | STOW-A-WEIGH STAND-ON SCALE | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700060W
5602 | PORTABLE STAND-ON SCALE 1/10 LB/100 GM ACCURACY | 700116 | 450006 | 255119 | 350043 | EU1027 | EU1022 | 700027W
5702 | BARIATRIC STAND-ON SCALE COMPLETE WITH HEAVY DUTY HANDRAIL | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
6002 | MULTI-PURPOSE WHEELCHAIR SCALE | 700051W | 450007 | 255006 | 350043 | EU1027 | EU1022 | 700027W
6102 | IN-FLOOR SCALE | 700051W | 450010 | 255008 | 350043 | EU1027 | EU1022 | 700027W
6154 | FLUSH-MOUNTED IN-FLOOR SCALE | 700051W | 450010 | 255031 | 350043 | EU1027 | EU1022 | 700027W
6202 | STOW-A-WEIGH WHEELCHAIR SCALE | 700116 | 450007 | 255006 | 350043 | EU1027 | EU1022 | 700060W
6502 | CHAIR SCALE | 700051W | 450007 | 255006 | 350043 | EU1027 | EU1022 | 700027W
6702 | OVERSIZED WHEELCHAIR SCALE 28 X 30 | 700051W | 450007 | 255008 | 350043 | EU1027 | EU1022 | 700027W
6772 | BARIATRIC WHEELCHAIR SCALE ADJUSTABLE FROM 18" TO 40" WIDE | 700116 | 450007 | 255033 | 350043 | EU1027 | EU1022 | 700027W
2001N | SLINGSCALE, BED SCALE W/Nylon | 11005 | N/A | 255007 | N/A | N/A | EU1022 | 11600
2001S | SLINGSCALE, BED SCALE W/STAPH-CHEK | 11005 | N/A | 255007 | N/A | N/A | EU1022 | 11600
2210VG | BEDSCALE | Rinstrum readout | N/A | N/A | N/A | N/A | N/A | Rinstrum
2211VG | BEDSCALE (KREG) | Rinstrum readout | N/A | N/A | N/A | N/A | N/A | Rinstrum
2212VG | BED/FOOT LIFTER SCALE | Rinstrum readout | N/A | N/A | N/A | N/A | N/A | Rinstrum
2217VG | BED/FOOT LIFTER SCALE-BARIATRIC BED | Rinstrum readout | N/A | N/A | N/A | N/A | N/A | Rinstrum
2250CE | UNDER-BED POD SCALE | 700057 | 450013 | N/A | N/A | EU1027 | EU1022 | 700028W
2317MM | BED SCALE OEM MEDMIZER | Rinstrum readout | N/A | N/A | N/A | N/A | N/A | Rinstrum
3003A | DIALYSIS CHAIR SCALE SINGLE SYSTEM | 11010S | N/A | 255012 | N/A | N/A | EU1022 | 11600
3003T | DIALYSIS CHAIR SCALE, TWIN | 11010S | N/A | 255013 | N/A | N/A | EU1022 | 11510S
4002-BT | DRAGER BABYTHERM WARMER SCALE | 700030W | 450011 | 255001 | N/A | N/A | EU1022 | 15104
4002-BT-C | DRAGER BABYTHERM WARMER SCALE | 700030W | 450027 | 255022 | N/A | EU1027 | EU1022 | 700027W
4002-BTD | DRAGER BABYTHERM WARMER SCALE (2M30480) | 700061w | N/A | N/A | N/A | N/A | N/A | 700062 | 450027
4002-DR | (MU21260) INFANT SCALE FOR RESUSITAIRE - 110V | 700061W | N/A | N/A | N/A | N/A | N/A | 700062 | 450035
4002-DRG | INFANT SCALE FOR DRAGER INCUBATOR | 700061W | N/A | N/A | N/A | N/A | N/A | 700062 | 450035
4002-DRI | (MU21290) INFANT SCALE FOR RESUSITAIRE - 220V | 700061W | N/A | N/A | N/A | N/A | N/A | 700062 | 450035
4002-DRN | (MU21631) INFANT SCALE FOR RESUSITAIRE NAWI 220V | 700061W | N/A | N/A | N/A | N/A | N/A | 700062 | 450035
4002-FP | WARMER SCALE FOR FISHER PAYKEL COSY COT | 700061W | N/A | N/A | N/A | N/A | N/A | 700065 | 450036
4002-FPN | WARMER SCALE FOR FISHER PAYKEL-NAWIVERSION | 700061W | N/A | N/A | N/A | N/A | N/A | N/A | 450036
4002-G | INCUBATOR SCALE FOR OHMEDA GIRAFFE | 700112W | 450019 | N/A | N/A | N/A | N/A | N/A | N/A
4002-HW | INFANT SCALE FOR HOMEWOOD WARMER | 700126W | 450019 | N/A | N/A | N/A | N/A | N/A | N/A
4002-HW2 | INFANT SCALE FOR HOMEWOOD WARMER VERSION #2 | 700061W | 450039 | N/A | N/A | N/A | N/A | 700062 | 450039
4002I | INFANT SCALE FOR INCUBATORS | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002I-O | INCUBATOR SCALE (100V-120V) (6600-0208-903) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002I-O2 | INCUBATOR SCALE(200V-240V) (6600-0208-906) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002LB | SCALE KIT - INT'L BIOMED LIFEBORNE (7361300)
4002-NAT | NATUS INCUBATOR SCALE (13167)
4002-NF | INFANT WARMER SCALE | 700061W | N/A | N/A | N/A | N/A | N/A | 700062 | 450028
4002-OMG | GIRAFFE INCUBATOR/WARMER SCALE EU VERSION (M1146450) | 700112W | 450019 | N/A | N/A | N/A | N/A | N/A
4002-OMGN | GIRAFFE INCUBATOR/WARMER SCALE | 700112W | 450019 | N/A | N/A | N/A | N/A | N/A
4002-OMG-P | GIRAFFE INCUBATOR/WARMER SCALE (6600-0501-900) | 700112W | 450019 | N/A | N/A | N/A | N/A | N/A
4002-OMP | WARMER SCALE FOR PANDA (6600-0519-900) | 700126W | 450019 | N/A | N/A | N/A | N/A | N/A
4002-PHI | (MODEL 103) INFANT WARMER SCALE | 700067W | 450041 | N/A | N/A | N/A | N/A | 700068W | 450041
4002ST | Scale-tronix branded version (not OEM versions) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002W | INFANT SCALE FOR WARMERS - STANDARD | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002WL | INFANT SCALE FOR WARMERS - LARGE | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002WL-O | WARMER SCALE 22X28 (100V-120V) (6600-0208-902) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002WL-O2 | WARMER SCALE 22X28 (200V-240V) (6600-0208-905) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4002W-O | WARMER SCALE 17X24 (100V-120V) (6600-0208-901) | 700030W | 450011 | 255027 | N/A | EU1027 | EU1022 | 15104
4302PD | PERITONEAL SCALE FOR WEIGHING DIALYSATE BAGS | 700058 | 450016 | 255014 | N/A | EU1027 | EU1022 | 700115
4802D | PEDIATRIC SCALE / INFANT SCALE | 700056W | 450012 | 255002 | 350043 | N/A | EU1022 | 700059
5152-F | IN FLOOR STAND ON SCALE WITH FLUSH MOUNTED READOUT | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
5152-S | IN FLOOR STAND ON SCALE WITH SURFACE MOUNTED READOUT | 700051W | 450006 | 255006 | 350043 | EU1027 | EU1022 | 700027W
6102D | IN-FLOOR SCALE, Dual Platform | 700051W | 450010 | 255025 | 350043 | EU1027 | EU1022 | 700027W
6102-DF | DUAL PLATFORM IN-FLOOR SCALE WITH FLUSH MOUNTED DIGITAL READOUT | 700051W | 450006 | 255025 | 350043 | EU1027 | EU1022 | 700027W
6102-DS | DUAL PLATFORM IN-FLOOR SCALE WITH SURFACE MOUNTED READOUT | 700051W | 450006 | 255025 | 350043 | EU1027 | EU1022 | 700027W
6102-F | IN-FLOOR SCALE WITH FLUSH MOUNTED READOUT AND 32 X 36 PLATFORM | 700051W | 450006 | 255008 | 350043 | EU1027 | EU1022 | 700027W
6102-S | IN-FLOOR SCALE WITH SURFACE MOUNTEDREADOUT | 700051W | 450006 | 255008 | 350043 | EU1027 | EU1022 | 700027W
6154-F | IN-FLOOR SCALE W/FLUSH READOUT 35 X 54 | 700051W | 450006 | 255031 | 350043 | EU1027 | EU1022 | 700027W
6154-S | IN-FLOOR SCALE 35" X 54" WITH SURFACE MOUNTED DIGITAL READOUT | 700051W | 450006 | 255031 | 350043 | EU1027 | EU1022 | 700027W
6202D | Stow-A-Weigh WC Scale, Dual P/F | 700116 | 450007 | 255029 | 350043 | EU1027 | EU1022 | 700060W
6202D | DUAL SYSTEM STOW-A-WEIGH SCALE FOR STRETCHERS,STAND-ON, WHEELCHAIRS | 700116 | 450007 | 255029 | 350043 | EU1027 | EU1022 | 700060W
6702SP | OVERSIZED WHEELCHAIR SCALE 30"X35" | 700051W | 450007 | 255008 | 350043 | EU1027 | EU1022 | 700027W
6702W | OVERSIZED WHEELCHAIR SCALE 28 X 32 | 700051W | 450007 | 255008 | 350043 | EU1027 | EU1022 | 700027W
HTP-2551 | BED SCALE OEM | 11005 | N/A | 255018 | N/A | N/A | EU1022 | 11600
HTP-2561 | BED SCALE OEM_BARIATRIC | 11005 | N/A | 255018 | N/A | N/A | EU1022 | 11600

## Cal Plug Resistors
Model | Cal Plug | [7 empty] | Model & | Models
| P/N | R-26 | R-24 | R-23 | R-22 | R-21 | R-20 | R-19
4002BT | 255001 |  | 3.01k | 10 k | 20.1k |  |  |  | 4002BT |  | w/ 2 debb's
4802 | 255002 |  | 30.1k |  | 2.49k |  |  |  | 4802
6100FP | 255003 |  | 2M |  | 499k |  |  |  | 6100FP
2250CE | 255004 |  | 6.81k | [5 empty] | 2250CE
2250FP | 255005 | [7 empty] | 2250FP
5002 | 255006 |  | 23.7k | [5 empty] | 5002 | 6002 | 6502 | 6202 S | 5107 | 5202 | 5152RB | 5702
2001 | 255007 |  | open | 2.49 M |  | 2.49 M |  | 100 k | 2001 | old P/N | 20034
6102 | 255008 |  | 68.1 k | [5 empty] | 6102 | 6702
2002 | 255009 | 11.5k | [6 empty] | 2002
3900FP | 255010 |  | 499k | 2.49k | 2.21M |  |  |  | 3900FP
3900T | 255011 |  | 604k | 2.49k | 2.21M |  |  |  | 3900T
3003 | 255012 |  | 499k | 107k | 2.21M |  |  |  | 3003
3003T | 255013 |  | 200k | [5 empty] | 3003T
4302 | 255014 |  | 2.37k | 49.9k |  |  |  |  | 4302 | 4502
4002 | 255015 |  | 9.53k | [5 empty] | 4002 | After S/N | 5000 | Atom
5102 | 255016 | [7 empty] | 5102
4002-G | 255017 |  | 1.87k |  | 100k |  |  |  | 4002-G
HTP | 255018 | [7 empty] | HTP
5102 | 255019 |  | 10k | [5 empty] | 5102 | 5112 | 5602 | 5152RA | 5125 | 5127
4002-A1 | 255020 |  | 7.32k | [5 empty] | 4002-A1
4652 | 255021 | [7 empty] | 4652
4002BT | 255022 |  | 2.49 k | 68.1 k | 14 k |  |  |  | 4002BT | 7.5 kg | L/C
2250CE | 255023 | [7 empty] | 2250CE
2250 | 255024 | [7 empty] | 2250 | Flatpack
6102-D | 255025 |  | 4.22k | [5 empty] | 6102-D
4002BT | 255026 |  | 845 o | 100 k | 13 k |  |  |  | 4002BT | 15 kg | L/C
4002 | 255027 |  | 2k | [5 empty] | 4002
5125G | 255028 |  | 8.25k | [5 empty] | 5125G
6202D | 255029 |  | 3.4k | [5 empty] | 6202D
3502 | 255030 | [7 empty] | 3502
6154 | 255031 |  | 5.9k | [5 empty] | 6154
4152 | 255032 | [7 empty] | 4152
6772 | 2550XX |  | 2.49k | [5 empty] | 6772
2001 | 20034 |  | open | 2.49 M |  | 2.49 M |  | 100 k | 2001 | same as | 255007
5005 | 50425 |  | 30.1 k | 2.49 M |  | 1.2 M |  | 130 k | 5005 | 6006 | Note: | R19 | low of | 90.9 k
6700 | 50426 |  | 56.2 k | 2.49 M |  | 681 k |  | 105 k | 6700
4002 G | 700112 |  | 1.87 k |  | 100 k |  |  |  | 4002 G | Giraffe | OMG | PC Brd
4002-SP | 700126 |  | 750 |  | 100 k |  |  |  | 4002-SP | Panda | OMP | PC Brd